FIRE SAFETY AUDIT – Carried out TUESDAY 18TH JANUARY 2011 by AMY WARING (Fire Officer)

Hereford & Worcester Fire Service   01562-512618/512612

The following requirements were made known to the RGVH Trustees:

- Fire alarm check each week from a different call point.

Call Point 1	Entrance Hall	Call Point 2 Meeting Room Corridor

Call Point 3	Rear Corridor	Call Point 4	Bar/Social Room

Call Point 5	Main Hall Emergency Exit						LOG

- Half Yearly fire alarm check by approved body

Contact needed with qualified electrician.				LOG

- a) Copy of emergency exit plan. See website http://www.rowneygreenvillagehall.org/RGVH/DownloadFormsanddocs

b) Booking form needs signed acknowledgment of emergency exit plan.

See website

http://www.rowneygreenvillagehall.org/RGVH/DownloadFormsanddocs

c) Assembly point notice in Front Car Park.

- a) Monthly emergency lights check by RGVH team.			LOG

b) Yearly emergency lights check by approved body, including 3-hour drain-down test.

c) Qualified electrician to carry out Portable Appliance Tests (PAT) in accordance with PAT Testing Schedule. See web site

http://www.rowneygreenvillagehall.org/RGVH/Download_Internal_Forms_&_Docs										LOG

- Weekly check of all emergency fire exit doors and lights.		LOG

- a) Weekly visual check of all fire fighting appliances to see if they and safety pins are in the correct place.							LOG

b) Arrange annual check by approved body				LOG

7.   Review FIRE SAFETY RISK ASSESSMENT annually		LOG