- Be familiar with the “Fire Safety Procedure” document (download from website docs page). Ensure the procedures are being followed.

- Be familiar with “Fire Instructions” document (download from website docs page).

- Be familiar with location of emergency lights, as described in “Emergency Lighting Maintenance Log Template” (download from website docs page).

- Be familiar with “Fire Alarm – Weekly Record of Tests and Inspections”. (Download from website docs page). Ensure that the associated records are correct and up-to-date. Ensure that periodic inspections are made by an “approved body” as required.

- Be familiar with “Emergency Lighting – Monthly Test Record” (Download from website docs page). Ensure that the associated records are correct and up-to-date. Ensure that periodic inspections are made by an “approved body” as required.

- Be familiar with “Fire Appliances Monthly Inspections” (Download from website docs page). Ensure that the associated records are correct and up-to-date. Ensure that periodic inspections are made by an “approved body” as required.

- Be familiar with “Register of Portable Electrical Appliances” (Download from website docs page). Ensure that register is reviewed annually and a qualified electrician carries out necessary tests. Ensure that the register is updated accordingly.

- Be familiar with the building and its outdoor areas. Complete a quarterly survey and associated “H&S Quarterly Site Inspection Report” (Download from website docs page). Ensure any necessary corrective action is taken.

- Arrange for an annual Gas Safety Certificate to be obtained from a “Gas Safe” engineer. Display it on the noticeboard of the main hall lobby.

- Arrange for the “Public Liability Certificate of Insurance” to be displayed on the noticeboard of the main hall lobby.

- Ensure the Accident Record Book is in good order and available with other user-documents in the main kitchen.