## Master List
Rowney Green Village Hall | Continous Maintenance Plan
Year commencing Mon: | YR
Job Description | Frequency (Per annum) | Date Last Done | Date Next | Team Responsible
Check water level of 2 beer chillers in rear corridor | 6 |  |  | Goat &Trousers Team (G&T)
Check, Clean & Defrost G&T Kitchen Fridge | 1 |  |  | G&T
Clean G&T Dishwasher Including Filter | 2 |  |  | G&T
Check & Tidy G&T Store & Beer Store | 2 |  |  | G&T
Spare | N/A |  |  | G&T
Clean out 2 cigarette end boxes & collect cig ends from ground | 12 |  |  | Outdoor Team (OT)
Clean out all gutters, down pipes & Gulleys | 1 |  |  | OT
Clear leaves, weeds, rubbish & other residues from all outdoor areas & car parks | 6 |  |  | OT
Spray weedkiller on tennis court slabs | 2 |  |  | OT
Remove debris from slit drain in rear car park | 2 |  |  | OT
Arrange for Tall Hedges to be cut either by workparty or sub-contractor | 1 |  |  | OT
Maintain Front Car Park Planted Border | t.b.a |  |  | OT
Check and record Defribilator Function | 24 |  |  | H
Check, Clean & Defrost Main Kitchen Fridge | 1 |  |  | Housekeeping Team (H)
Check condition/function of Blinds | 1 |  |  | H
Check condition/function of False Curtains | 1 |  |  | H
Check Kettles and Descale if necessary | 1 |  |  | H
Audit General Tidiness of Chair/Table Store | 2 |  |  | H
Check Supplies Inside the 2 First Aid Boxes | 2 |  |  | H
Audit Fire Alarm – Weekly Record of Tests Sheet has been completed | 12 |  |  | Health & Safety
Complete Fire Appliances Monthly Inspection Sheet | 12 |  |  | H&S
Complete Emergency Lighting Monthly Test Record Sheet | 12 |  |  | H&S
Complete H&S Site Inspection Report | 4 |  |  | H&S
Audit General Tidiness of Storage Lofts for Safe Access & Fire Risk | 2 |  |  | H&S
Audit General Tidiness of Under-Stage Storage | 1 |  |  | H&S
Audit Fire Alarm, Extinguisher Test & Emergency Lighting has been completed by External Contractors | 2 |  |  | H&S
Test Emergency Alarm Pull Cord System in each Disabled Toilet | 1 |  |  | H&S
Arrange for Servicing & Inspection of Gas-fired Kitchen Hot Water Boiler | 1 |  |  | H&S
Check and adjust/repair outside lights | 1 |  |  | Maintenance &Resource Team
Check Safety of Loft Ladders Lubricate & Function Test | 1 |  |  | M&R
Change Batteries on Heating Thermostats and Kitchen CO Alarm | 1 |  |  | M&R
Check Light Bulbs & Fluorescent Tubes - Renew if necessary | 12 |  |  | M&R
Check Function of all Wall Mounted Heaters & Hand-Dryers | 12 |  |  | M&R
Check all Water Tap Flow Rates – Clean Filters/Diffusers if necessary | 1 |  |  | M&R
Remove Flies from Lighting Diffusers | 1 |  |  | M&R
Review Int. & Ext. Decorating Requirements then take necessary action | 1 |  |  | M&R
Certify G&T Coffee Machine Pressure Vessel, Exchange Water Softener | Every 3 yrs |  |  | M&R
Check & Clean All Extractor Fans (Kitchens & Toilets) | 1 |  |  | M&R
Review potential for ‘Improvement Projects’ for long term savings | 1 |  |  | M&R
Check and Renew if necessary All Toilet Pull Cords | 1 |  |  | M&R
Clean all Sink Waste Traps | 1 |  |  | M&R
Clean Vacuum Cleaner Filters | 1 |  |  | M&R
Audio, Projector Screen and Projector:Check Presence of: Instructions, Cables, Microphone, Remote Control Unit/s etc | 2 |  |  | M&R
Remove any flammable Dust from Stage & Hall Lights | Every 2 yrs |  |  | M&R
Perform Testing of Portable Electrical Appliances to Schedule | Annual |  |  | M&R
Check Stage Curtain Cords, Function and Renew Flame Retardant if required | 1 |  |  | M&R
Check Projector Faults & Clean Filter as necessary | 1 |  |  | M&R

## G&T & Housekeeping
G&T Maintenance Task List | YR | Please Initial in box when task is complete
| Frequency per-annum | Month
Task |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
Check water level of 2 beer chillers in rear corridor | 6
Check, Clean & Defrost G&T Kitchen Fridge | 1
Clean G&T Dishwasher Including Filter | 2
Check & Tidy G&T Store & Beer Store | 2
Spare | N/A
Housekeeping Task List | YR | Month Jan: Please Initial in box when task is complete
| Frequency per-annum | Month Jan: Month
Task |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
Check, Clean & Defrost Main Kitchen Fridge | 1
Check condition/function of Blinds | 1
Check condition/function of False Curtains | 1
Check Kettles and Descale if necessary | 1
Audit General Tidiness of Chair/Table Store | 2
Check Supplies Inside the 2 First Aid Boxes | 2

## Outdoor & Health & Safety
Outdoor Team Task List | YR | Please Initial in box when task is complete
| Frequency per-annum | Month
Task |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
Clean out 2 cigarette end boxes & collect cig ends from ground | 12
Clean out all gutters, down pipes & Gulleys | 1
Clear leaves, weeds, rubbish & other residues from all outdoor areas & car parks | 6
Remove debris from slit drain in rear car park | 2
Arrange for Tall Hedges to be cut either by workparty or sub-contractor | 1
Maintain Front Car Park Planted Border | t.b.a
Health & Safety Task List | YR | Month Jan: Please Initial in box when task is complete
| Frequency per-annum | Month Jan: Month
Task |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
Audit Fire Alarm – Weekly Record of Tests Sheet has been completed | 12
Complete Fire Appliances Monthly Inspection Sheet | 12
Complete H&S Site Inspection Report | 4
Audit General Tidiness of Storage Lofts for Safe Access & Fire Risk | 2
Audit General Tidiness of Under-Stage Storage | 1
Audit Fire Alarm, Extinguisher Test & Emergency Lighting has been completed by External Contractors | 2
Test Emergency Alarm Pull Cord System in each Disabled Toilet | 1
Arrange for Servicing & Inspection of Gas-fired Kitchen Hot Water Boiler | 1

## Maintenance
Maintenance Team Task List | YR | Please Initial in box when task is complete
| Frequency per-annum | Month
Task |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
Check and adjust/repair outside lights | 1
Check Safety of Loft Ladders Lubricate & Function Test | 1
Change Batteries on Heating Thermostats and Kitchen CO Alarm | 1
Check Light Bulbs & Fluorescent Tubes - Renew if necessary | 12
Check Function of all Wall Mounted Heaters & Hand-Dryers | 12
Check all Water Tap Flow Rates – Clean Filters/Diffusers if necessary | 1
Remove Flies from Lighting Diffusers | 1
Review Int. & Ext. Decorating Requirements then take necessary action | 1
Certify G&T Coffee Machine Pressure Vessel, Exchange Water Softener | Every 3 yrs
Check & Clean All Extractor Fans (Kitchens & Toilets) | 1
Review potential for ‘Improvement Projects’ for long term savings | 1
Check and Renew if necessary All Toilet Pull Cords | 1
Clean all Sink Waste Traps | 1
Clean Vacuum Cleaner Filters | 1
Audio, Projector Screen and Projector:Check Presence of: Instructions, Cables, Microphone, Remote Control Unit/s etc | 2
Remove any flammable Dust from Stage & Hall Lights | Every 2 yrs
Perform Testing of Portable Electrical Appliances to Schedule | Annual
Check Stage Curtain Cords, Function and Renew Flame Retardant if required | 1
Check Projector Faults & Clean Filter as necessary | 1